- What kind of procedures are classified as Reactivity Management? (ex. - Ops dilutions, unit shutdown, RE procedures, I&C calibrations, putting a polisher in service...etc.)

The review process for all site procedures, of any discipline, has a requirement to evaluate whether or not the subject impacts Reactivity Management.  Specifically, procedures that are related to or may affect a predefined list of Reactivity Management Related or Trip Related systems receive a Reactivity Management Screening.  Examples of such systems include; 4 kV, Chemical and Volume Control, Fuel Handling and Storage, Nuclear Instrumentation, Safety Injection, Seal Oil, and Unit and Auxiliary Transformers.

2.)  	How often does Reactor Engineering have to review the changes made to non RE     procedures? (here at Surry, we review a majority of the procedures given as examples above.  (We do not review most administrative changes).

Reactor Engineering performs cross discipline reviews on certain Operations, Refueling, and some I&C procedures.  The majority of Operations procedures call for a cross discipline review by Reactor Engineering.

3.)  Is your physics Testing procedure considered an Infrequently Performed Test?  How about all of your other outage related procedures?

Yes, we consider physics testing an IPTE as well as most of the other outage related activities.

4.)   Is Reactor Engineering actively involved in reviewing daily work orders?  How is this       accomplished? ( REs look at a daily work order list, people bring work orders to REs,...etc.

Reactor Engineering will review daily work orders if requested to, but that is usually done in the Work Management Center by licensed operators.