A.R Burger Comments on JPR 3.1 – Fuel Monitoring and Transient Review

- Item V.G. – Change to “Generate and issue a Periodic Reactivity Plan.”

- Add the following items under section V to capture items from FEC 002:

  - Generate Fuel Movement Sheets for Core Alteration or Other Component Movement

  - Perform a New Fuel Receipt

- Add the following items under section V:

  - Perform or Simulate Low Power Physics Testing. Simulate would be accomplished by completing the activity using the plant Simulator with Operations personnel and reactimeter simulation.

  - Perform calculations for Nuclear Power Range Calibration

  - Perform a B-10 depletion calculation

- Add the following items under section III:

- NOBP-NF-0001, Reactor Engineering Cycle Updates

- NONP-NF-0003, Processing Flux Map Data

- NOBP-NF-0005, Reactivity Plans

- NOBP-NF-1016, Communication of Operation Support Information

- NOBP-NF-1018, Quantitative Assessment of CIPS Risk for PWRs

- NOBP-NF-1019, Pellet Cladding Interaction Risk Assessment

- NOBP-NF-1102, Nuclear Fuel Performance Inspections

- NOBP-NF-2104, Nuclear Fuel Receipt

- NOBP-NF-3001, Maintaining SNM Records and Preparing Material Status Reports

- NOBP-NF-3002, Fuel Reliability Databases

- NOBP-NF-3102, Control of Non-Special Nuclear Material in the Fuel Pools

- OMM-16, Site Receipt and Handling of New Fuel Assemblies and Shipping Containers

- 1/2RST-49.4, Transfer of Non-irradiated Fuel Assemblies From Spent Fuel Pool to Shipping Containers